## MIN REQS
Shelby County Government
RFP 25-007-06 HVAC Routine Maintenance and Repair for Various County Buildings
Department: Support Services
VENDOR: Company name
MINIMUM REQUIREMENTS - 100% on each, to be responsive |  |  |  | VENDOR TO COMPLETE YELLOW SECTIONS
# | Category | Topic | Requirement Description | YES / NO (any "NO" will disqualify you) | Vendor Comments | Ref. to appendix, if applicable
1 | Min req. | Licenses/Certifications | Provide all appropriate Licenses and Certifications required in the State of Tennessee to provide the goods and/or perform the Services required. Provide a copy of your current Shelby County Business License (if the business is located in Shelby County, TN).
2 | Min req. | EOC/Vendor Status | Must provide active Equal Opportunity Compliance (EOC) number(s) and Vendor number, or your applications are “in” the EOC system and the Purchasing system for processing (refer to details outlined below) – please list all your Shelby County EOC active numbers.
3 | Min req. | Title VI | Adherence to all provisions of Title VI requirements – please attest, and provide proof/documentation if necessary.
4 | Min req. | Independent Vendor | Independent Vendors (sole proprietors) must adhere to State of Tennessee Public Chapter No. 436, known as the “Tennessee Lawful Employment Act” (the effective date of 01/01/12) – please provide proof and documentation of employment eligibility (driver’s license…); Otherwise, mention you are NOT an Independent Vendors (sole proprietors).
5 | Min req. | Forms | FORMS - EOC Compliance Form A must be completed with active Shelby County Government M/WBE vendors listed, signed, and included with your proposal, as detailed in this document. FORM B to be completed/signed, with applicable backup, only IF the goal is not met on Form A.
6 | Min req. | Drug-Free | FORM - Drug-Free Workplace Affidavit must be completed, signed, and notarized with your bid/proposal – even if less than 5 employees.
7 | Min req. | Experience | Must attest to a minimum of (5) years of experience providing the goods and/or performing the services described in this bid.
8
9 | Min req.
10 | Min req.
11 | Min req.
12 | Min req.

## DEPT REQS
Shelby County Government
RFP 25-007-06 HVAC Routine Maintenance and Repair for Various County Buildings
Department: Support Services
VENDOR: Company name
DEPARTMENT/SPECIFIC/TECHNICAL REQUIREMENTS |  |  |  |  | VENDOR TO COMPLETE YELLOW SECTIONS
# | Category | Topic | Requirement Description | MAX POINTS | YES-included std FUTURE-not incl. CUSTOM-not incl. NO-not available | Vendor Comments (if custom, add approx. price) | Ref. to appendix, if applicable
1 | Department Specific Requirements | Response Time | Describe your capability of responding to multiple emergency calls within two (2) hours, twenty-four (24) hours per day; seven (7) days per week. | 15
2 | Department Specific Requirements | Emergency /Routine Maintenance Repair Services | Describe your ability to ensure twenty-four (24) hour emergency and routine maintenance repair services and minor installation on the following: A. General pipe fitting work to include fuel gas, steam, and hot water piping systems. B. Electric, electronic and pneumatic control systems. Air-handling units, fan coil units, duct systems/dampers and unit ventilators. C. Auxiliary heat and air-conditioning equipment, such as pumps, valves, coiling towers and air compressors. D. Trouble shoot and repair high and low pressure boilers and hot water generators and associated boiler controls. E. Packaged air-conditioning systems to include roof top units, size will normally be up to 100 tons. F. New installation work as directed. G. Provide assistance as requested in summer/winter start-up of machinery. | 20
3 | Department Specific Requirements | Quick Response Ability | Describe your ability to provide adequate vehicles and communications equipment to ensure a quick response, such as radios, pagers, mobile phones, etc. | 20
4 | Department Specific Requirements | FORMS | The Proposers must complete and return the following five (5) forms: • Exhibit A-Qualification; • Exhibit B-Section I-Package Heating & A/C Units; • Exhibit C-Section II-Boiler; • Exhibit D-Section III- Controls; and • Exhibit E-Section IV-Chiller. | 20
5 | Department Specific Requirements | Invoicing | Demonstrate the ability that will adhere to the following invoicing instructions on all invoices: A. Description of material. B. Job Description with specific location. C. Labor Rate. D. Number of hours on the job. E. Cost of materials and percent mark-up. F. Contract Number, EOC Number and Vendor Number. | 15
6 | Department Specific Requirements | Qualifications | Provide a statement of qualifications based on experience and required references (refer to section XI.C.4)-Cost and Fees & required references (refer to section XI.C.5)– Experience of the Respondent. | 10
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
SPECIFIC/TECHNICAL REQS - TOTAL SCORES (max 100) |  |  |  | 100