## MIN REQS
Shelby County Government
RFP 21-006-47, On-site Solar PV System Services (Design-Build)
Department: Planning and Development & Public Works
VENDOR: Company name
MINIMUM REQUIREMENTS - 100% on each, to be responsive |  |  |  | VENDOR TO COMPLETE YELLOW SECTIONS
# | Category | Topic | Requirement Description | YES / NO (any "NO" will disqualify you) | Vendor Comments | Ref. to appendix, if applicable
1 | Min req. | Licenses | 1. Provide all appropriate Licenses and Certifications required in the State of Tennessee to provide the goods and/or perform the Services required. Provide a copy of your Shelby County Business License (if business is located in Shelby County, TN).
2 | Min req. | EOC | 2. Must provide active Equal Opportunity Compliance (EOC) number(s) and Vendor number, or your applications are “in” the EOC system and the Purchasing system for processing (refer to details outlined below) – please list all your Shelby County EOC active numbers.
3 | Min req. | Title VI | 3. Adherence to all provisions of Title VI requirements – please attest, and provide proof/documentation if necessary.
4 | Min req. | Independent Vendor | 4. Independent Vendors (sole proprietors) must adhere to State of Tennessee Public Chapter No. 436, known as the “Tennessee Lawful Employment Act” (effective date of 01/01/12) – please provide proof and documentation of employment eligibility (driver’s license…); Otherwise mention you are NOT an Independent Vendors (sole proprietors).
5 | Min req. | LOSB | 5. FORMS - EOC Compliance Form A must be completed with active Shelby County Government LOSB vendors listed, signed and included with your proposal, as detailed in this document. FORM B to be completed/signed, with applicable backup, only IF the goal is not met on Form A.
6 | Min req. | Drug Free | 6. FORM - Drug Free Workplace Affidavit must be completed, signed and notarized with your bid/proposal – even if less than 5 employees.
7 | Min req. | Experience | 7. Must attest to a Minimum of 3 years of experience providing the goods and/or performing the services described in this bid.
8 | Min req. | Staff | 8. Must attest to having sufficient staff with a minimum of three (3) years of experience.
9 | Min req. | NABCEP | 9. Must provide verification of staff members with NABCEP (North American Board of Certified Energy Practitioners) certification.

## DEPT REQS
Shelby County Government
RFP 21-006-47, On-site Solar PV System Services (Design-Build)
Department: Planning and Development & Public Works
VENDOR: Company name
DEPARTMENT/SPECIFIC/TECHNICAL REQUIREMENTS |  |  |  |  | VENDOR TO COMPLETE YELLOW SECTIONS
# | Category | Topic | Requirement Description | MAX POINTS | YES-included std FUTURE-not incl. CUSTOM-not incl. NO-not available | Vendor Comments (if custom, add approx. price) | Ref. to appendix, if applicable
1 | Qualifications & Experience | Past Project Experience | 1. Demonstrates the firm’s ability to perform the scope of services, including experience on high-quality solar PV projects of similar scope and size and with similar clients. | 20
2 | Approach | Management and Technical Approach | 2. Provides a detailed description of the firm’s management and technical approach for the requested scope of work, including: guaranteed power capacity (kW-DC and kW-AC), estimated annual electricity production (kWh-AC), panel, inverter and racking specifications, and equipment and workmanship warranties; attachments showing the physical layout of the proposed PV, inverter, and conduit; PVSYST report indicating production of the proposed system; proposed monitoring system; and the operations & maintenance plan offered for the project. | 20
3 | Approach | Deliverables, Milestones, and Schedule | 3. Provides a specific and complete list of proposed deliverables for the project, as well as a complete and realistic project schedule with major milestones and durations. | 15
4 | Approach | Pricing and Cost Effectiveness | 4. Demonstrates the cost effectiveness of the project and provides a price proposal that includes upfront cost ($/W and overall $) and net present year 1 and year 30 financial savings using the following assumptions: 1% County’s utility electricity price escalation rate, 4% County discount rate, 30-year evaluation period. | 15
5 | Qualifications & Experience | Past Operations & Maintenance Experience | 5. Demonstrates firm’s capability to monitor and maintain PV generating systems. | 10
6 | Qualifications & Experience | Past Operations & Maintenance Experience | 6. Demonstrates firm’s ability to respond quickly, efficiently, and cost-effectively to service calls so the PV systems are operating at optimum output. | 10
7 | Project Impact | Community Goals and Benefits | 7. Understands and describes the community benefits resulting from the project. | 10
SPECIFIC/TECHNICAL REQS - TOTAL SCORES (max 100) |  |  |  | 100